IITDh/IPS/2025-26/LPC/162

10th Oct 2025

Invitation for Quotation

Name of the Work: Aluminium Partition Work.

Location: Academic Block I Room No 301 Permanent Campus IIT Dharwad

With reference to the aforementioned work, quotations are hereby invited for the said work. Interested vendors with experience in said works can submit their quotes (as per Annexure-I) on their official letterhead, duly attested, in a sealed envelope via post / courier to the following address:

To,

IPS Office (NE-113),

First Floor Admin Block,

Indian Institute of Technology Dharwad,

Permanent Campus, Chikmalligwad.

Dharwad-580011.

Deadline for submission: 24th October 2025 up to 1300 hours

NOTE:

- Any quotes received after 1300 hours on 24/10/2025 will not be accepted.

- Name of the Work / LPC number and Firm name should be mandatorily written on the sealed cover.

Sd/-

Executive Engineer

Indian Institute of Technology Dharwad

Annexure -I

| BoQ for Aluminium partition work at Academic Block I Room No 301 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Description | Unit | Qty. | Rate (₹) | Amount (₹) |
| 1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For fixed portion Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | kg | 55.00 |  |  |
| 2 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | kg | 11.20 |  |  |
| 3 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in- charge. Pre-laminated particle board with decorative lamination on both sides | sqm | 16.80 |  |  |
| 5 | Filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/Brick/ Stone/ wood/ Ceramic/ Gypsum work by providing weather/structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540- F & ISO 11600 Upto 5 mm depth and 5 mm width. | metre | 16.00 |  |  |
| 6 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc., complete. | each | 1.00 |  |  |
| 7 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200 mm. | each | 2.00 |  |  |
| 8 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper. | each | 1.00 |  |  |
| 9 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | each | 1.00 |  |  |
| 10 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :200x10 mm | each | 2.00 |  |  |
| 11 | Providing and fixing Stainless Steel (SS Grade 304) 360 Degree Rotation Hidden Door Pivot Hinges of size 75mm length and 3mm thickness (best make of approved quality) including fixing of screws etc. for aluminium doors including necessary cutting and making good etc. Complete as per the directions of Engineer in-charge. | each | 2.00 |  |  |
| 12 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm). | sqm | 1.44 |  |  |
| TOTAL (₹) |  |  |  |  |  |
| GST (₹) |  |  |  |  |  |
| Grand total (₹) |  |  |  |  |  |

(Contractors Sign and Seal)